## Slide 1: &
By: Nafees Ahamad,
AP, EECE, Dept.
DIT University, Dehradun
Types of Feedback
Its Effects

## Slide 2: Types of Feedback
There are two types of feedback −
Positive feedback
Negative feedback: Its effects are
  Error is reduced
  Sensitivity of the system due to parameter variations and unwanted internal and external disturbances are reduced
  Response becomes fast (Time constant reduces)
  System may become more stable or Unstable
  Overall gain is reduced

## Slide 3: Positive feedback
Its Transfer function

## Slide 4: Negative feedback
Its Transfer function

## Slide 5: Effect of parameter variation in an open loop system
Its transfer function
  or
Let be the change in G(s) due to parameter variation, and let the corresponding change in output be , we can write
G(s)
Input
Output
R(s)
C(s)

## Slide 6: Effect of parameter variation in a closed loop system
The over all transfer function
Let be the change in G(s) due to parameter variation, and let the corresponding change in output be , we can write
  O/P
G(s)
E(s)
C(s)
H(s)
R(s)

## Slide 7: Effect of parameter variation in a closed loop system…
This change in output is less as compared to change in output of open loop system.
( time less.

## Slide 8: Sensitivity
Let overall transfer function of a control system be T(s) and its forward path gain G(s) be varying.
The sensitivity of overall transfer function T(s) w. r. t. the variation in G(s) is given by

## Slide 9: Sensitivity in Open loop system
In open loop system T(s) = G(s)
So, Sensitivity

## Slide 10: Sensitivity in closed loop system
Sensitivity of T(s) w.r. t. G(s)
Put the value of T and differentiate
So, sensitivity is reduced by times as compared to open loop system

## Slide 11: Sensitivity in closed loop system…
Sensitivity of T(s) w.r. t. H(s)
Put the value of T and differentiate
So, sensitivity is given as

## Slide 12: Effect of feedback on Disturbance
Consider open loop system: Consider the following system
To get the effect of disturbance[Td(s)] on output, let us put I/P, R(s) = 0 and find out C(s)/Td(s)

## Slide 13: Effect of feedback on Disturbance
Consider closed loop system:
  Consider disturbance in the forward path as shown below
Again, to get the effect of disturbance[Td(s)] on output, let us put I/P, R(s) = 0, as shown on next slide

## Slide 14: Effect of feedback on Disturbance…
Find out C(s)/Td(s)

## Slide 15: Effect of feedback on Disturbance…
Note:
Disturbance is less as compared to an open loop system.
If , above equation becomes
So it can be further reduced if G1(s) and H(s) are as large as possible

## Slide 16: Effect of feedback on Disturbance…
      Consider disturbance in the feedback path as shown below
      To get the effect of disturbance[Td(s)] on output, let us put I/P, R(s) = 0, as shown on next slide

## Slide 17: Effect of feedback on Disturbance…
Find out C(s)/Td(s)
If , above equation becomes
So it can be further reduced if H1(s) is as large as possible

## Slide 18: Effect of feedback on Disturbance…
        Consider disturbance in the output as shown below
        To get the effect of disturbance[Td(s)] on output, let us put I/P, R(s) = 0, as shown on next slide

## Slide 19: Effect of feedback on Disturbance…
Find out C(s)/Td(s)
If , above equation becomes
So, effect can be reduced if G1(s) and/or H1(s) are as large as possible

## Slide 20: Thanks