## Slide 1: P, PD,PI & PID Controllers
By: Nafees Ahamad,
AP, EECE, Dept.
DIT University, Dehradun

## Slide 2: Controllers
A device or system or program for improving transient and steady state response of a control system.

## Slide 3: Proportional Controller
G(s)
C(s)
H(s)
R(s)
Kp
Error Signal E(s)
Actuating Signal
Ea(s)
Actuating Signal ea(t)
Error Signal e(t)
Ea(s) = Kp E(s)
If value of Kp is increased
System becomes fast (Advantage )
Steady State Error reduces (Advantage )
Maxi Overshoot increases (Disadvantage )

## Slide 4: Derivative Controller
Actually it is proportional + derivative controller
Actuating signal is given as
Laplace transformation of above equ
Constant

## Slide 5: Derivative Controller …
G(s)
C(s)
H(s)
R(s)
1
sTd
E(s)
Ea(s)
G(s)
C(s)
H(s)
R(s)
1+sTd
E(s)
Ea(s)

## Slide 6: Derivative Controller …
From the block diagram, overall transfer function is given as
Its characteristic equation
Overall transfer function without D controller
Its characteristic equation
Note: With D Controller, A zero
(s = -1/Td) is added in the

## Slide 7: Derivative Controller …
Note: is the same in both cases [Equ (1) & (2)]
New Damping ratio
Damping ratio increased
Thus with derivative controller
Damping ratio () increased and so
Rise time (tr) reduces
Peak time (tp) reduces
Maxi overshoot (Mp) reduces

## Slide 8: Derivative Controller …
For given system with D controller, We know
& H(s) =1
The transfer function relating E(s) and R(s) is given as
Put the values of G(s) & H(s)

## Slide 9: Derivative Controller …
For unit ramp input, So, E(s)
Steady state error for unit ramp input
Unchanged (Same as without D Controller)

## Slide 10: Integral Controller
Actually it is proportional + Integral controller
Actuating signal is given as
Laplace transformation of above equ
Constant

## Slide 11: Integral Controller …
, H(s)=1
G(s)
C(s)
H(s)
R(s)
1
Ki/s
E(s)
Ea(s)
G(s)
C(s)
H(s)
R(s)
1+Ki/s
E(s)
Ea(s)

## Slide 12: Integral Controller …
From the block diagram, overall transfer function is given as
Its characteristic equation
Overall transfer function without controller
Its characteristic equation
Note:
With P Controller, A zero (s = -Ki) is added in the
System becomes of 3rd order .

## Slide 13: Integral Controller …
For given system with P controller, We know
& H(s) =1
The transfer function relating E(s) and R(s) is given as
Put the values of G(s) & H(s)

## Slide 14: Integral Controller …
For unit ramp input, So, E(s)
Steady state error for unit ramp input
changed (Without controller )

## Slide 15: Integral Controller …
For unit parabolic input, So, E(s)
Steady state error for unit parabolic input

## Slide 16: PID Controller
Actuating signal is given as
Laplace transformation of above equ
Constants

## Slide 17: Integral Controller …
G(s)
C(s)
H(s)
R(s)
E(s)
Ea(s)

## Slide 18: Thanks

## Slide 19
Thanks U very much