## Slide 1: DC Machines(Motor)
By: Nafees Ahamad,
Asstt. Prof., EECE Deptt,
DIT University, Dehradun

## Slide 2: Power Relationship in DC motor
From the figure
Power Loss in Armature
Mechanical Power developed in armature (Pm)
Input Power
Motor Armature

## Slide 3: Power Relationship in DC motor…
So, from eq(2), Mechanical power developed
Condition for maximum power developed
Differentiate eq(3) w.r.t. and put
Put this in eq(1)

## Slide 4: Types of DC motors
Permanent magnet DC motor:
  Used for small power applications i.e. CD players, toys etc.
Separately excited DC motor:
  Field winding is excited by some external battery
According to connection of field winding
  Series motor
  Shunt motor
  Compound motor

## Slide 5: Separately excited DC motor
Armature
Rheostat
Battery
Field Winding

## Slide 6: Separately excited DC motor…
From the figure
Power drawn from main supply
Mechanical power developed in armature

## Slide 7: Series motor
Series Field Winding

## Slide 8: Series motor …
From the figure
Power drawn from main supply
Mechanical power developed in armature

## Slide 9: Shunt Motor
Shunt Field Winding

## Slide 10: Shunt Motor…
From the figure
&
Power drawn from main supply
Mechanical power developed in armature

## Slide 11: Compound Motor
Compound motor
  Short shunt compound motor
  Long shunt compound motor
    Cumulative
    Differential

## Slide 12: Compound Motor …
Differential Short Shunt Compound Motor
Cumulative Short Shunt Compound Motor

## Slide 13: Direction of rotation of DC motor
The direction of rotation can be reversed by
  Either by reversing the current through armature winding
  Or By reversing the current through field winding

## Slide 14: Speed Equation
We know back EMF of a dc motor
For a given system P, N, Z & A are constant, so
If are initial values and are final values, then

## Slide 15: Speed Equation…
For DC shunt motor
Flux is constant, so put in eq(3)
if we neglect drop, we can write
So DC shunt motor is constant speed motor

## Slide 16: Speed Equation…
For DC series motor
Before saturation flux So , put in eq(3)
After saturation flux is constant, so put in eq(3)

## Slide 17: Speed Regulation
It is defined as the change in speed when the load on motor is reduced from full load to zero and expressed in percentage of rated full load speed.

## Slide 18: Torque
Torque N-meter
Work done per revolution
Work done per second
n (rps)
r
F
Pulley of Radius ‘r’, acting a force ‘F’ & rotating with ‘n’ revolution per second (rps)
T
= = Angular velocity

## Slide 19: Torque…
  So
  S

## Slide 20: Armature Torque (Ta or Te)
We know
Mechanical power developed = Work done per second

## Slide 21: Armature Torque (Ta or Te) …
We know put in eq(3)
(Other terms are constants)

## Slide 22: Shaft Torque (Tsh)
Torque to overcome Iron and Friction & Windage losses
Armature Torque
Shaft Torque

## Slide 23: Shaft Torque (Tsh)…
Where
So
Motor Output Power in Watt

## Slide 24: Characteristic of DC Motor:
There are 3 characteristics
Torque Vs. Armature current characteristics
Speed Vs. Armature current characteristics
Speed Vs. Torque characteristics
Following results will be used
T-I
N-I
N-T

## Slide 25: Characteristic of DC Series Motor
Torque Vs. Armature current characteristics: Use eq(1)
    Before saturation
    After saturation
Speed Vs. Armature current characteristics: Use eq(2)
    Before saturation
    After saturation
Speed Vs. Torque characteristics: Use eq(1) & (2)

## Slide 26: Characteristic of DC Series Motor …
1. Torque Vs. Ia
2. Speed Vs. Ia
3. Speed Vs. Torque
Note: 2nd & 3rd characteristics are same
Gives high starting torque
Series motor should never be started without some mechanical load

## Slide 27: Characteristics Of DC Shunt Motors
Torque Vs. Armature current characteristics: Use eq(1)
Speed Vs. Armature current characteristics: Use eq(2)
Speed Vs. Torque characteristics: Use eq(1) & (2)

## Slide 28: Characteristics Of DC Shunt Motors…
Note: 2nd & 3rd characteristics are same
1. Torque Vs. Ia
3. Speed Vs. Torque
2. Speed Vs. Ia
No load speed
N

## Slide 29: Characteristics Of DC Compound Motor
1. Torque Vs. Ia
2. Speed Vs. Ia

## Slide 30: Losses in DC Machines (Motor & Generator)
Input Power
Useful O/p Power
Losses
Copper Loss:
Cu loss in field winding (, )
Cu loss in armature ()
Iron Loss:
Hysteresis loss
Eddy current loss
Mechanical Loss
Friction loss
Windage loss

## Slide 31: Efficiency in DC Machines
For DC generator
Mechanical Efficiency:

## Slide 32: Efficiency in DC Machines…
Electrical efficiency:
Overall efficiency:
Note:

## Slide 33: Efficiency in DC Machines…
For DC Motor
Mechanical Efficiency:

## Slide 34: Efficiency in DC Machines…
Electrical efficiency:
Overall efficiency:
Note:

## Slide 35: Need of a Starter in DC Motors
We know
is very less and at time of starting
So
Therefore when the motor is directly connected to the supply lines a heavy current will flow through the armature conductors. This heavy current is very dangerous.
In order to limit this heavy current, we use the starter in a DC motor.

## Slide 36: Some Questions
A d.c. generator has an armature emf of 100 V when the useful flux per pole is 20 mWb, and the speed is 800 rpm. Calculate the generated emf (i) with the same flux and a speed of 1000 rpm, (ii) with a flux per pole of 24 mWb and a speed of 90 rpm. (Ans.:- (i) 125 V, (ii) 135 V)
An 8 pole dc generator has 500 armature conductors and a useful flux of 0.05 Wb. What will be the emf generated, if it lap connected and runs at 1200 rpm? What must be the speed at which it is to be driven to produce the same emf, if it is wave wound? (Ans.:- 500V, 300 rpm)

## Slide 37: Some Questions…
A d.c. shunt machine connected to 230 V supply has resistance of armature as 0.115 Ω and of field winding as 115 Ω. Find the ratio of the speed as a generator to the speed as a motor with the line current in each case being 100 A. (Ans.:- 1.1052:1)
A d.c. shunt motor draws 10 A at no load from 230 V mains and runs at 1500 rpm. At full load, armature current is 100 A and speed is 1470 rpm. Armature resistance of the motor is 0.1 Ω and field current negligible. Find (a) back emf at no – load and full load (b) speed at which armature should be run to make it deliver 100 A at 220 V as a generator. Assume same flux as with motor operation at full load of 10 A. (Ans.:- (a) 229 V , 220 V (b) 1536.8 rpm)

## Slide 38: Some Questions…
A d.c. series motor has an armature resistance of 0.12 Ω and field resistance of 0.08 Ω. The supply voltage across the motor terminals is 230 V. Determine the back emf and power developed by the motor when line current drawn by motor is 30 A. (Ans.:- 224 V, 6.72 kW)

## Slide 39: Thanks