## Slide 1: Time Response
By: Nafees Ahamad,
AP, EECE, Dept.
DIT University, Dehradun

## Slide 2: Time Response
System output in time domain
It consists of
Transient response
Steady state response

## Slide 3: Time Response …
Time response c(t) is given as
Transient Response
Steady State Response
Overall Response

## Slide 4: Transient Response
Response just after applying/removing the input to the system is known as transient response.
It revels the nature of response (i.e. Oscillatory or overdamped).
It also indicates about response speed .
The transient response will be zero for large values of ‘t’. Ideally, this value of ‘t’ is infinity [Practically 3T (on 5% error basis) or 4T (on 2% error basis), T = Time Constant]
Mathematically,

## Slide 5: Steady state Response
The response just after transient response is known as Steady State Response.
It revels the accuracy of a control system.
Steady state error is observed if the actual output does not exactly match with the input.
Example
Transient Response
Steady State Response

## Slide 6: Standard Test Signals
Standard Test signals are
Step signal
Ramp Signal
Impulse Signal
Parabolic Signal

## Slide 7: Unit Step Signal
It is defined as

## Slide 8: Unit Ramp Signal
It is defined as
r

## Slide 9: Unit Impulse Signal
It is defined as

## Slide 10: Parabolic Signal
It is defined as
x

## Slide 11: Relationship

## Slide 12: Time Response of a First Order System
Consider following system with unity feedback
With and

## Slide 13: Time Response of a First Order System…
So, overall transfer function
, Put the values of G(s) & H(s)
Note: The power of ‘s’ in denominator is one, so it is first order system
So,

## Slide 14: Impulse Response of First Order System
Consider the unit impulse signal as an input
Put in Equ. (1)
Take inverse Laplace transformation
Take Laplace Transformation

## Slide 15: Step Response of First Order System
Consider the Unit Step signal as an input
Put in Equ. (1) and take partial fractions
Take inverse Laplace transformation
Take Laplace Transformation

## Slide 16: Ramp Response of First Order System
Consider the Unit Ramp Signal as an input
Put in Equ. (1) and take partial fractions
Take inverse Laplace transformation
Take Laplace Transformation

## Slide 17: Ramp Response of First Order System…
Equ. (4) has transient as well as steady state response
Transient Response
Steady State Response
c(t)
T

## Slide 18: Response of Second Order System
Consider the following 2nd order control system
With, Open loop transfer function
And H(s) = 1
So,
G(s)
E(s)
C(s)
H(s)
R(s)

## Slide 19: Response of Second Order System
Its characteristic equation
The roots of characteristic equ are
Note:
=0, Two Imaginary Roots
=1, Two Real Equal Roots
1, Two Real Unequal Roots
, Two Complex Roots

## Slide 20: Step Response of Second Order System…
Consider the Unit Step signal as an input
Put in Equ. (5) and take partial fractions
Take Laplace Transformation
Let

## Slide 21: Step Response of Second Order System…
, Partial Fraction
So,

## Slide 22: Step Response of Second Order System…
Take inverse Laplace transformation
Put

## Slide 23: Step Response of Second Order System…
Put
So, and

## Slide 24: Step Response of Second Order System…
Put the values of and
and
The error signal for the system

## Slide 25: Step Response of Second Order System…
= Natural frequency of oscillation or undammed natural frequency
= Dammed frequency
= damping factor or actual damping or damping coefficient

## Slide 26: Step Response of Second Order System…
Case 1: Underdamped Case
Response is given by equ. (8). It is under damped having overshoot and undershoot as shown below.

## Slide 27: Step Response of Second Order System…
Case 2: Undamped Case
Response of equ (8) becomes

## Slide 28: Step Response of Second Order System…
Case 3: Critical damped Case
Put in original equation

## Slide 29: Step Response of Second Order System…
Take inverse Laplace transform

## Slide 30: Step Response of Second Order System…
Case 4: Over damped Case
When Equ (6) can be written as
Let

## Slide 31: Step Response of Second Order System…
Put values of A, B, & C and
take inverse Laplace transformation

## Slide 32: Step Response of Second Order System…
Above equ (12) has two time constant
and with
So, we can neglect terms with time constant ,
Hence response can be approximated as

## Slide 33: Location of roots of characteristic equation and Time response
We know closed loop response of 2nd order system is given as
Its characteristic equation
Its roots are
()Damping
)Damped Frequency

## Slide 34: Location of roots of characteristic equation and Time response …
Undamped
Underdamped
Critical damped
Over damped
Re
Im

## Slide 35: Transient Response Specifications of 2nd Order System
For 2nd order system with unit step input following are the transient response specifications
Delay Time (td)
Rise Time (tr)
Peak Time (tp)
Maximum Overshoot (Mp)
Settling Time (ts)
Steady-State Error (ess)

## Slide 36: Transient Response Specifications of 2nd Order System …
Time
c(t)
0.5
td
1.0
tr
tp
Mp
c(t)max
T=1/
ts

## Slide 37: Delay time
Delay time (td) is the time required to reach at 50% of its final value by a time response signal during its first cycle of oscillation.

## Slide 38: Rise time
Rise time (tr) is the time required to reach at final value by a under damped time response signal during its first cycle of oscillation. If the output is over damped, then rise time is counted as the time required by the response to rise from 10% to 90% of its final value.
We know the output of 2nd order system with step input is given as
, Equ (7)
put c(t)=1 and solve for t

## Slide 39: Peak time
Peak time (tp) is simply the time required by response to reach its first peak i.e. the peak of first cycle of oscillation, or first overshoot.
For maxi value of c(t), put
For first overshoot, n=1

## Slide 40: Maximum overshoot
Maximum overshoot (Mp) is straight way difference between the magnitude of the highest peak of time response and magnitude of its steady state.
Put in c(t), (equ. (7))

## Slide 41: Settling time
Settling time (ts) is the time required for a response to become steady. It is defined as the time required by the response to reach and steady within specified range of 2 % to 5 % of its final value.
Time period of the system
on the basis of error
on the basis of error

## Slide 42: Steady-state error
Steady-state error (ess ) is the difference between actual output and desired output at the infinite range of time.

## Slide 43: Assignment
1. Find out time response of 2nd order system subjected to unit impulse input.
2. Find out time response of 2nd order system subjected to unit ramp input.
3. Explain how time response of higher order system is determined?

## Slide 44: Thanks